**Section 340.1260 Reports of Leaking or Contaminated Sealed Sources**

The licensee shall file a report within 5 days with the Agency if the test for leakage or contamination required pursuant to Section 340.410 of this Part indicates a sealed source is leaking or contaminated. The report shall describe the equipment involved, the test results and the corrective action taken.

(Source: Amended at 29 Ill. Reg. 20841, effective December 16, 2005)