**Section 201.610 Federal NSPS and NESHAP Requirements**

The owner or operator must comply with the requirements of all applicable federal regulations for the PBR boiler, including the following limits, work practice standards, testing, monitoring, recordkeeping, and reporting requirements:

a) 40 CFR 60, subpart A, Standards of Performance for New Stationary Sources: General Provisions, as incorporated by reference in Section 201.104.

b) 40 CFR 60, subpart Dc, Standards of Performance for Small Industrial-Commercial-Institutional Steam Generating Units, as incorporated by reference in Section 201.104.

c) 40 CFR 63, subpart A, National Emission Standards for Hazardous Air Pollutants for Source Categories: General Provisions, as incorporated by reference in Section 201.104.

d) 40 CFR 63, subpart DDDDD, National Emission Standards for Hazardous Air Pollutants for Major Sources: Industrial, Commercial, and Institutional Boilers and Process Heaters, as incorporated by reference in Section 201.104.

e) 40 CFR 63, subpart JJJJJJ, National Emission Standards for Hazardous Air Pollutants for Industrial, Commercial, and Institutional Boilers Area Sources, as incorporated by reference in Section 201.104.

(Source: Added at 41 Ill. Reg. 4140, effective March 24, 2017)