**Section 211.210 Actual Heat Input**

"Actual heat input" means the quantity of heat produced by the combustion of fuel using the gross heating value of the fuel.

(Source: Added at 17 Ill. Reg. 16504, effective September 27, 1993)