**Section 217.162 Exemptions**

Notwithstanding Section 217.160 of this Subpart, the provisions of this Subpart do not apply to an industrial boiler operating under a federally enforceable limit of NOx emissions from such boiler to less than 15 tons per year and less than five tons per ozone season.

(Source: Added at 33 Ill. Reg. 13345, effective August 31, 2009)