**Section 302.204 pH**

pH must be within the range of 6.5 to 9.0 except due to natural causes.

(Source: Amended at 47 Ill. Reg. 4437, effective March 23, 2023)