**Section 302.207 Radioactivity**

a) Gross beta concentration must not exceed 100 picocuries per liter (pCi/L).

b) Strontium 90 concentration must not exceed 2 pCi/L.

c) The annual average radium 226 and 228 combined concentration must not exceed 3.75 pCi/L.

(Source: Amended at 47 Ill. Reg. 4437, effective March 23, 2023)