**Section 364.203 F1 Factor**

F1 is a factor which evaluates the quantity of wastewater adjusted for strength. It is calculated as follows:

F1 = log10 (PE BOD, existing wastewater load)