**Section 371.267 Chapter VII − Emergency Operating and Response Program**

a) Analyze the pumping station's and collection system's vulnerability to emergency situations including:

1) Equipment failures

2) Natural disasters

3) Strikes

4) Civil disorders

b) Discuss methods to reduce vulnerability to such situations.

c) List any mutual aid agreements with other organizations.

d) Include a complete emergency equipment inventory and discuss updating it on a routine basis.

e) Provide for preserving all records, drawings, etc.

f) Provide a complete industrial waste inventory and monitoring system and discuss updating it on a routine basis. The system must include for each industry:

1) The name and location of the discharging industry;

2) A description of the industrial waste;

3) The names and telephone numbers of the industry's key personnel for emergency contact.

g) Provide written coordinating instructions for local police and fire departments.

h) Outline the responsibilities of personnel for various emergency situations.

i) Designate an emergency response center.

j) Discuss sources of auxiliary personnel.

k) List emergency telephone numbers for hospital, fire department, police, ambulance, etc, on a form.

l) Discuss plans for keeping the emergency operating and response plan current.