**Section 374.203 Valves**

Valve arrangements and connection shall be made so as to allow quick removal and replacement of equipment for maintenance purposes.