**Section 374.204 Non-corrosive Equipment**

Non-corrosive or corrosion-resistant equipment shall be specified for STEP systems.