**Section 374.208 Alarm Systems**

An alarm system shall be provided in the home where grinder units are installed in the basement to alert the home owner in case of pump malfunction. A visual alarm system shall be provided for those pumping units installed in a separate pumping vault outside of the home.

(Source: Amended at 21 Ill. Reg. 12439, effective August 28, 1997)