**Section 653.403 Public Notification Required**

Public notification shall be made when:

a) finished water distributed to the consumer is not in compliance with any Maximum Allowable Concentration (MAC) as specified in 35 Ill. Adm. Code 604: Subparts A, B or C;

b) finished water samples required by 35 Ill. Adm. Code 605 are not analyzed by a certified laboratory;

c) turbidity samples are not analyzed by a person approved by the Agency as specified in Section 654.402;

d) a variance from any Maximum Allowable Concentration specified in 35 Ill. Adm. Code 604: Subpart A, B, or C has been granted by the Illinois Pollution Control Board; or

e) the compliance schedule included as condition of variance has not been met.