**Section** **722.355 Required Aisle Space**

The LQG must maintain aisle space to allow the unobstructed movement of personnel, fire protection equipment, spill control equipment, and decontamination equipment to any area of facility operation in an emergency, unless aisle space is not needed for any of these purposes.

(Source: Added at 42 Ill. Reg. 22047, effective November 19, 2018)