**Section 726.605 Prohibition Against Sewering**

All healthcare facilities, including VSQGs operating under 35 Ill. Adm. Code 722.114 instead of Subpart P, and reverse distributors are prohibited from discharging hazardous waste pharmaceuticals to a sewer system that passes through to a publicly-owned treatment works. Healthcare facilities and reverse distributors remain subject to the prohibitions in 40 CFR 403.5(b), incorporated by reference in 35 Ill. Adm. Code 720.111.

BOARD NOTE: This Section negates the exclusion from definition as solid waste in 35 Ill. Adm. Code 721.104(a)(1)(B) for mixtures of waste and domestic sewage as to VSQGs and reverse distributors.

(Source: Amended at 48 Ill. Reg. 17108, effective November 7, 2024)