**Section 1320.95 Minimum Equipment List**

a) Each office in which the practice of optometry is conducted shall contain, in good working condition, the following minimum equipment:

1) Ophthalmoscope − Direct and Indirect

2) Retinoscope or its equivalent

3) Tonometer

4) Automated Threshold Visual Field Testing Device

5) Color Vision Testing Device

6) Keratometer or its equivalent

7) Biomicroscope

8) Lenses for subjective testing

9) Blood Pressure Measuring Device

b) An Automated Threshold Visual Field Testing Device, as specified in subsection (a)(4), is not required at an ancillary location where all prospective patients are unable to perform this test and this circumstance is reported in the application for an ancillary registration.

(Source: Amended at 36 Ill. Reg. 10006, effective June 29, 2012)