**Section 350.2410 Codes**

Water supply, sewage disposal and plumbing systems shall comply with the all applicable State and local codes and ordinances. (B)

(Source: Amended at 13 Ill. Reg. 6040, effective April 17, 1989)