**Section 370.2010 Codes**

Water supply, sewage disposal and plumbing systems shall comply with all applicable State and local codes and ordinances.