**Section 682.350 Audiometric Tests for Replacement Hearing Instrument**

The minimum tests set forth in Section 682.300 are not required when the Hearing Instrument is a *replacement of a hearing* *instrument* *of the same make and model* *within one year of the dispensing of the original hearing instrument.* (Section 18(z) of the Act)

(Source: Amended at 21 Ill. Reg. 4799, effective April 1, 1997)