**Section 730.5010 Water Supply**

The water supply shall be sufficient for the operations intended and shall be derived from an adequate source. Any water that contacts foods or food-contact surfaces shall be safe and of adequate sanitary quality. Running water at a suitable temperature and under pressure as needed shall be provided in all areas where the processing of food, the cleaning of equipment, utensils, or containers, or employee sanitary facilities require.