**Section 760.610 Ventilation Hoods**

Ventilation hoods and devices, where installed, shall be designed to prevent grease or condensation from collecting on walls and ceilings, and from dripping into food or onto food-contact surfaces. Filters or other grease extracting equipment shall be readily removable for cleaning and replacement, if not designed to be cleaned in place.