SUBPART A: GENERAL PROVISIONS

Section

855.5 Applicability

855.10 Incorporation by Reference-Federal Regulations and Other Standards

855.20 Definitions

855.25 Alternative Procedures and Variances

SUBPART B: LICENSURE AND TRAINING COURSE APPROVAL

Section

855.100 License Requirements

855.110 Contractor Licensing

855.120 Training Course Approval and Accreditation

SUBPART C: RESPONSIBILITIES OF LICENSED PERSONS

Section

855.140 Supervisor Responsibilities

855.150 Project Designer Responsibilities

855.160 Management Planner Responsibilities

855.170 Project Manager Responsibilities, Air Sampling Professional Responsibilities and Laboratory Services

SUBPART D: GENERAL ABATEMENT REQUIREMENTS

FOR COMMERCIAL AND PUBLIC BUILDINGS

Section

855.220 Notification and Procedures for Abatement of Asbestos in Commercial and Public Buildings

855.230 Equipment and Waste Container Removal Procedures

855.240 Reestablishment of the Work Area and HVAC Systems in Commercial and Public Buildings

SUBPART E: LOCAL EDUCATIONAL AGENCY RESPONSIBILITIES

AND STANDARDS FOR ABATEMENT

Section

855.300 Local Education Agency (LEA) Requirements

855.310 Procedures for School Inspections and Reinspections

855.325 Management Plan

855.330 Operations and Maintenance

855.350 Submissions and Notices

855.360 Demolition of a School Building

855.370 Workplace Entry and Exit Procedures

855.380 Building Protection

855.390 Materials and Equipment

855.400 Work Area Preparation

855.410 Worker Decontamination Enclosure System

855.420 Remote Decontamination Enclosure System

855.425 Equipment Decontamination Enclosure System

855.430 Separation Barriers

855.440 Maintenance of Decontamination Enclosure Systems and Workplace Barriers

855.450 Commencement of Work

855.460 Removal Procedures

855.465 Cleanup Procedures

855.470 Clearance Air Monitoring and Analysis

855.475 Disposal Procedures

855.480 Glovebag Procedures

855.490 Response Contractor Indemnification Fund

855.500 Encapsulation Procedures for Schools

855.510 Enclosure Procedures for Schools

855.520 Reestablishment of the Work Area and HVAC Systems in Schools

SUBPART F: FINES, PENALTIES, ADMINISTRATIVE HEARINGS AND

EMERGENCY STOP WORK ORDERS

Section

855.600 Adverse Licensure Action

855.610 Fines and Penalties

855.620 Administrative Hearings

855.630 Emergency Stop Work Orders for Commercial and Public Buildings

855.640 Emergency Stop Work Orders for Schools

855.APPENDIX A Illustration – Project Form

855.ILLUSTRATION A Worker and Equipment Decontamination Systems

855.APPENDIX B Illustrations – Inspection and Management Plan Forms

855.ILLUSTRATION A Building Inspection for Friable and Nonfriable Materials

855.ILLUSTRATION B Inspection Report Form

855.ILLUSTRATION C Sampling Area Diagram (Ceiling and Floor)

855.ILLUSTRATION D Sampling Area Diagram (Boiler Room)

855.ILLUSTRATION E Random Sampling Table

855.ILLUSTRATION F Irregularly Shaped Random Sampling Area

855.ILLUSTRATION G Regular Shaped Random Sampling Area

855.ILLUSTRATION H Protocol for Asbestos Management Plan

855.ILLUSTRATION I Outline for Asbestos Management Plan