SUBPART A: DEFINITIONS AND GENERAL PROVISIONS

Section

890.110 Applicability

890.120 Definitions

890.130 Incorporated and Referenced Materials

890.140 Compliance with this Part

890.150 Workmanship

890.160 Used Plumbing Material, Equipment, Fixtures

890.170 Sewer and/or Water Required

890.180 Sewer and Water Pipe Installation

890.190 Piping Measurements

890.200 Operation of Plumbing Equipment

SUBPART B: PLUMBING MATERIALS

Section

890.210 Materials

890.220 Identification (Repealed)

890.230 Safe Pan Material and Construction

SUBPART C: JOINTS AND CONNECTIONS

Section

890.310 Tightness

890.320 Types of Joints

890.330 Special Joints

890.340 Use of Joints

890.350 Unions

890.360 Water Closet and Pedestal Urinal

890.370 Prohibited Joints and Connections in Drainage Systems

890.380 Increasers and Reducers

SUBPART D: TRAPS AND CLEANOUTS

Section

890.410 Fixture Traps/Continuous Waste

890.420 Pipe Cleanouts

890.430 Cleanout Equivalent

890.440 Acid-Proof Traps

SUBPART E: INTERCEPTORS − SEPARATORS AND BACKWATER VALVES

Section

890.510 Grease Interceptor Requirements

890.520 Gasoline, Oil and Flammable Liquids

890.530 Special Waste Interceptors

890.540 Laundries (Repealed)

890.550 Backwater Valves − Sanitary System and Storm System (Repealed)

SUBPART F: PLUMBING FIXTURES

Section

890.610 General Requirements − Material and Design

890.620 Overflows

890.630 Installation

890.640 Prohibited Fixtures

890.650 Water Closets

890.660 Urinals

890.670 Strainers and Fixture Outlets

890.680 Lavatories

890.690 Shower Receptors and Compartments

890.700 Sinks

890.710 Food Waste Disposal Units

890.720 Drinking Fountains

890.730 Floor Drains/Trench Drains

890.740 Kidney Dialysis Machines

890.745 Dental Units

890.750 Hydromassage/Whirlpool Bathtubs

890.760 Pressure Type Water Treatment Units

890.770 Dishwashing Machines

890.780 Garbage Can Washers

890.790 Laundry Trays/Sinks and Drains

890.800 Special Fixtures and/or Items Designed for a Particular Purpose

890.810 Minimum Number of Plumbing Fixtures

890.820 Outside Kiosks Serving Food

SUBPART G: HANGERS, ANCHORS AND SUPPORTS

Section

890.910 Hangers, Anchors and Supports

890.920 Vertical Piping

890.930 Horizontal Piping

SUBPART H: INDIRECT WASTE PIPING, SPECIAL WASTE

Section

890.1010 Indirect Waste Piping

890.1020 Material and Size

890.1030 Length and Grade

890.1040 Air Gaps

890.1050 Receptors

890.1060 Special Wastes and Chemical Wastes

SUBPART I: WATER SUPPLY AND DISTRIBUTION

Section

890.1110 Quality of Water Supply

890.1120 Color Code

890.1130 Protection of Potable Water

890.1140 Special Applications and Installations

890.1150 Water Service Pipe Installation

890.1160 Potable Water Pumping and Storage Equipment

890.1170 Potable Water Supply Tanks and Auxiliary Pressure Tanks

890.1180 Flushing/Disinfection of Potable Water System

890.1190 Water Supply Control Valves and Meter

890.1200 Water Service Sizing

890.1210 Design of a Building Water Distribution System

890.1220 Hot Water Supply and Distribution

890.1230 Safety Devices

890.1240 Miscellaneous

SUBPART J: DRAINAGE SYSTEM

Section

890.1310 Materials

890.1320 Drainage System Installation

890.1330 Drainage Fixture Units (DFUs)

890.1340 Determination of Sizes for Drainage System

890.1350 Offsets in Drainage Piping

890.1360 Sanitary Wastes below Sewer

890.1370 Floor Drains

890.1380 Storm Water Drainage within a Building

SUBPART K: VENTS AND VENTING

Section

890.1410 Materials

890.1420 Stack Vents, Vent Stacks, Main Vents

890.1430 Vent Terminals

890.1440 Vent Terminal Size (Repealed)

890.1450 Vent Grades and Connections

890.1460 Fixtures Back-to-Back (Repealed)

890.1470 Fixture Trap Vents

890.1480 Types of Fixture Trap Vents

890.1490 Installation of Vents for Fixture Traps (Repealed)

890.1500 Installation of Wet Venting

890.1510 Stack Venting (Repealed)

890.1520 Circuit and Loop Venting

890.1530 Pneumatic Ejectors

890.1540 Relief Vents

890.1550 Offsets at an Angle Less than 45 Degrees from the Horizontal in Buildings of Five or More Stories

890.1560 Main Vents to Connect at Base (Repealed)

890.1570 Vent Headers

890.1580 Size and Length of Vents

890.1590 Combination Waste and Vent (Floor and Hub Drains Only)

890.1600 Special Venting for Island Fixtures

SUBPART L: PLUMBING SYSTEMS/CORRECTIONAL FACILITIES

Section

890.1710 General Requirements

890.1720 Water Closets

890.1730 Urinals

890.1740 Combination Lavatory/Toilet

890.1750 Service Sinks/Lavatory

890.1760 Sinks

890.1770 Cabinet Showers

890.1780 Flush Valves

890.1790 Soap Dishes

890.1800 Floor Drains

SUBPART M: INSPECTIONS, TESTS, MAINTENANCE, AND ADMINISTRATION

Section

890.1910 Inspections

890.1920 Testing of Plumbing Systems

890.1930 Test Methods

890.1940 General Administration

890.1950 Violations

890.APPENDIX A Plumbing Materials, Equipment, Use Restrictions and Applicable Standards

890.TABLE A Approved Materials and Standards

890.TABLE B Minimum Number of Plumbing Fixtures

890.TABLE C Minimum Air Gaps for Plumbing Fixtures

890.TABLE D Minimum Water Distribution Pipe Size

890.TABLE E Drainage Fixture Units Per Fixture Group

890.TABLE F Fixtures Not Listed in Table E

890.TABLE G Building Drains

890.TABLE H Horizontal Fixture Branches and Stacks

890.TABLE I Allowed Distance from Fixture Trap to Vent

890.TABLE J Size of Vent Stacks

890.TABLE K Size and Length of Vents

890.TABLE L Horizontal Circuit and Loop Vent Sizing Table

890.TABLE M Load Values Assigned to Fixtures

890.TABLE N Water Supply Fixture Units (WSFUs) for a Supply System with Flush Tanks Water Closets

890.TABLE O Water Supply Fixture Units (WSFUs) for a Supply System with Flushometer Water Closets

890.TABLE P Demand at Individual Water Outlets

890.TABLE Q Allowance in Equivalent Length of Pipe for Friction Loss in Valves and Fittings

890.APPENDIX B Illustrations for Subpart A

890.ILLUSTRATION A Air Gap Drawing #1

890.ILLUSTRATION B Air Gap Drawing #2

890.ILLUSTRATION C Battery of Fixtures

890.ILLUSTRATION D Branch

890.ILLUSTRATION E Branch Vent

890.ILLUSTRATION F Building Drain

890.ILLUSTRATION G Building Sub-drain

890.ILLUSTRATION H Circuit Vent

890.ILLUSTRATION I Common Vent

890.ILLUSTRATION J Continuous Vent

890.ILLUSTRATION K Dead End

890.ILLUSTRATION L Drain

890.ILLUSTRATION M Fixture Drain

890.ILLUSTRATION N Flush Valve (Repealed)

890.ILLUSTRATION O Grade

890.ILLUSTRATION P Horizontal Branch

890.ILLUSTRATION Q Main Vent

890.ILLUSTRATION R Quarter Bend (Repealed)

890.ILLUSTRATION S Relief Vent

890.ILLUSTRATION T Return Offset (Repealed)

890.ILLUSTRATION U Revent Pipe

890.ILLUSTRATION V Stack Vent

890.ILLUSTRATION W Trap

890.ILLUSTRATION X Vent Stack (Repealed)

890.ILLUSTRATION Y Wet Vent

890.ILLUSTRATION Z Yoke Vent

890.ILLUSTRATION AA Sleeves

890.ILLUSTRATION BB Buried Piping Parallel to Footing

890.ILLUSTRATION CC Individual Dry Vent

890.APPENDIX C Illustrations for Subpart C

890.ILLUSTRATION A Caulked Joints

890.ILLUSTRATION B Flared Joints

890.ILLUSTRATION C Positions of Application for Compression Type Joints

890.APPENDIX D Illustrations for Subpart D

890.ILLUSTRATION A Fixture Traps

890.ILLUSTRATION B Distance of Trap to Fixture

890.ILLUSTRATION C Types of Traps

890.ILLUSTRATION D Trap Cleanouts

890.ILLUSTRATION E Prohibited Traps

890.ILLUSTRATION F Underground Drainage

890.ILLUSTRATION G Concealed Piping

890.ILLUSTRATION H Cleanout Clearance

890.APPENDIX E Illustrations for Subpart E

890.ILLUSTRATION A Grease Interceptor

890.ILLUSTRATION B Typical Grease Interceptor/Catch Basin

890.ILLUSTRATION C Interceptor/Separator Vents

890.ILLUSTRATION D Interceptors for Bottling Plants (Repealed)

890.ILLUSTRATION E Laundry Interceptors (Repealed)

890.ILLUSTRATION F Backwater Valve Location (Repealed)

890.APPENDIX F Illustrations for Subpart F

890.ILLUSTRATION A Prohibited Fixtures

890.ILLUSTRATION B Circular Wash Sinks

890.ILLUSTRATION C Commercial Type Grinder #1 (Repealed)

890.ILLUSTRATION D Commercial Type Grinder

890.ILLUSTRATION E Protective Guard

890.ILLUSTRATION F Trap and Strainer

890.APPENDIX G Illustrations for Subpart G

890.ILLUSTRATION A Cast Iron Soil Pipe Support #1

890.ILLUSTRATION B Cast Iron Soil Pipe Support #2

890.ILLUSTRATION C Horizontal Piping Support (Repealed)

890.ILLUSTRATION D Cast Iron Soil Stack Support (Repealed)

890.APPENDIX H Illustrations for Subpart H

890.ILLUSTRATION A Indirect Waste Piping #1

890.ILLUSTRATION B Indirect Waste Piping #2

890.ILLUSTRATION C Indirect Waste Piping #3

890.ILLUSTRATION D Indirect Waste Piping #4

890.ILLUSTRATION E Indirect Waste Connection

890.ILLUSTRATION F Air Gaps

890.APPENDIX I Illustrations for Subpart I

890.ILLUSTRATION A Cross-Connection #1

890.ILLUSTRATION B Cross-Connection #2

890.ILLUSTRATION C Cross-Connection #3

890.ILLUSTRATION D Flushometer Valve

890.ILLUSTRATION E Underground Water Piping #1

890.ILLUSTRATION F Underground Water Piping #2

890.ILLUSTRATION G Underground Water Piping #3

890.ILLUSTRATION H Water Supply Control

890.ILLUSTRATION I Shut-Off Valve at Meter

890.ILLUSTRATION J Separate Controls for Each Family Unit

890.ILLUSTRATION K Shut-Off Valves in Buildings Other Than Dwellings

890.ILLUSTRATION L Typical Gas Water Heater

890.ILLUSTRATION M Typical Electric Water Heater

890.ILLUSTRATION N P & T Valve Installed in Hot Outlet Line

890.ILLUSTRATION O P & T Relief Valve

890.APPENDIX J Illustrations for Subpart J

890.ILLUSTRATION A Dead Ends

890.ILLUSTRATION B Horizontal to Vertical Change of Direction

890.ILLUSTRATION C Horizontal to Horizontal Change of Direction

890.ILLUSTRATION D Vertical to Horizontal Change of Direction

890.ILLUSTRATION E Fixture Connections

890.ILLUSTRATION F Waste Stacks

890.ILLUSTRATION G Offsets on Drainage Piping

890.ILLUSTRATION H Relief Vent

890.ILLUSTRATION I Above Highest Branch

890.ILLUSTRATION J Below Lowest Branch

890.ILLUSTRATION K Drainage Below Sewer Level

890.ILLUSTRATION L Sanitary Wastes Below Sewer (Repealed)

890.APPENDIX K Illustrations for Subpart K

890.ILLUSTRATION A Installation of Vent Stack or Main Vent

890.ILLUSTRATION B Vent Terminal

890.ILLUSTRATION C Main Vent

890.ILLUSTRATION D Roof Extensions

890.ILLUSTRATION E Location of Vent Terminal

890.ILLUSTRATION F Vent Grade and Vertical Rise

890.ILLUSTRATION G Vertical Rise

890.ILLUSTRATION H Height Above Fixtures

890.ILLUSTRATION I Heel or Side-Inlet

890.ILLUSTRATION J Heel or Side-Inlet (Repealed)

890.ILLUSTRATION K Fixtures Back-to-Back and Side-by-Side (Repealed)

890.ILLUSTRATION L Distance from Trap to Vent

890.ILLUSTRATION M Trap Vent

890.ILLUSTRATION N Trap Weir/Hydraulic Gradient

890.ILLUSTRATION O Common Vent

890.ILLUSTRATION P Vertical Wet Vent

890.ILLUSTRATION Q Horizontal Wet Vent

890.ILLUSTRATION R Vertical/Horizontal Wet Vent

890.ILLUSTRATION S Single Bathroom Group Venting

890.ILLUSTRATION T Bathroom Group Back to Back

890.ILLUSTRATION U Bathroom Groups − Plan

890.ILLUSTRATION V Bathroom Groups − Elevation

890.ILLUSTRATION W One Bathroom Group − Plan

890.ILLUSTRATION X One Bathroom Group − Elevation (Repealed)

890.ILLUSTRATION Y Battery Venting

890.ILLUSTRATION Z Dual Branches

890.ILLUSTRATION AA Right and Wrong Vent Connections

890.ILLUSTRATION BB Fixtures Back-to-Back in Battery

890.ILLUSTRATION CC Fixture Connections − Offset Vents

890.ILLUSTRATION DD Circuit Vented Fixtures

890.ILLUSTRATION EE Vent Stacks

890.ILLUSTRATION FF Combination Waste and Vent

890.ILLUSTRATION GG Special Venting for Island Fixtures