**Section 890.160 Used Plumbing Material, Equipment, Fixtures**

a) Previously used plumbing material, equipment and/or fixtures may be re-used for plumbing installations only if it complies with this Part at the time of the new installation.

b) Used pipe or fittings shall not be installed in a potable water system.