**Section 890.APPENDIX A**  **Plumbing Materials, Equipment, Use Restrictions and Applicable Standards**

**Section 890.TABLE F**  **Fixtures Not Listed in Table E**

|  |  |  |
| --- | --- | --- |
| Fixture Drain or Trap Size |  | Drainage Fixture Unit Valve (D.F.U.) |
| 1¼ inches and smaller |  | 1 |
| 1½ inches |  | 2 |
| 2 inches |  | 3 |
| 2½ inches |  | 4 |
| 3 inches |  | 5 |
| 4 inches |  | 6 |