**Section 905.APPENDIX A Illustrations and Exhibits**

**Section 905.ILLUSTRATION R Waste Stabilization Pond**

**Section 905.EXHIBIT A Plan View**



(Source: Amended at 20 Ill. Reg. 2431, effective March 15, 1996)

**Section 905.APPENDIX A Illustrations and Exhibits**

**Section 905.ILLUSTRATION R Waste Stabilization Pond**

**Section 905.EXHIBIT B Section View**



(Source: Amended at 20 Ill. Reg. 2431, effective March 15, 1996)

**Section 905.APPENDIX A Illustrations and Exhibits**

**Section 905.ILLUSTRATION R Waste Stabilization Pond**

**Section 905.EXHIBIT C Waste Stabilization Pond Surface Area in Square Feet**

|  |  |  |
| --- | --- | --- |
|  | With Septic Tank | With Aeration |
| Bedrooms | Depth – 3 ft. | 4ft. | 5ft. | 3ft. | 4ft. | 5ft. |
| 1 | 533 ⅓ | 400 | 320 | 160 | 120 | 96 |
| 2 | 1067 | 800 | 640 | 320 | 240 | 192 |
| 3 | 1600 | 1200 | 960 | 480 | 360 | 288 |
| 4 | 2133 | 1600 | 1280 | 640 | 480 | 384 |
| 5 | 2667 | 2000 | 1600 | 800 | 600 | 480 |
| 6 | 3200 | 2400 | 1920 | 960 | 720 | 576 |
| 7 | 3733 | 2800 | 2240 | 1120 | 840 | 672 |

(Source: Added at 20 Ill. Reg. 2431, effective March 15, 1996)