**Section 910.50 Number of Fixtures Required**

At least one toilet must be provided for every 35 workers or fraction thereof. If workers of both sexes are present, then at least one of the required toilets shall be in a separate room.

(Source: Amended at 13 Ill. Reg. 18610, effective November 15, 1989)