**Section 1250.1670 Quality**

a) Criteria #1: Does equipment in existence operate in an acceptable manner?

b) Standard #1: All equipment should be modern and not result in excessive duplication of scans or inordinate down time due to needed repair.

c) Data Factors:

1) Down time of equipment.

2) Age of equipment.

3) Repair costs.

4) Compliance with applicable state safety regulations.

d) Criteria #2: Does CT scanning exist as a component of a diagnostic service offering alternative and back-up test capabilities?

e) Standard #1: All CT scanners should exist as a component of a comprehensive diagnostic program which has the capability of providing EEG, EMG and electronystomography.

f) Data Factors: Means of providing required tests.

g) Criteria #3: Are patient records available and accessible?

h) Standard #1: Policies should be in place relative to the use and release of medical records.

i) Data Factors: Medical record policies.