**Section 530.520 Post Installation Location**

All non-metallic underground utilities will have a Department approved metallic locator installed above the facility.